R.R.I.C. ASSOCIATES, INC.

5215 SIMPSON FERRY ROAD    SUITE 102

MECHANICSBURG, PA  17050

717/766-9621      800/774-2462

FAX:  717/796-9251

rricassociates@aol.com

-  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -  -

ONE (1) MICRO VU COMPARATOR, MODEL M301, 1999

Stock Number:  2427

Cost:   $1,500.00

Description

VIDEO MEASUREMENT SYSTEM

6.25 X 6.25 TABLE

X-Y TRAVEL – 6” X 6”

GRADUATIONS – 9.99995”

LIGHT RING FIBER OPTIC LIGHT SOURCE

INTERNAL DIODE

VERTICAL GLASS STAGE, INCLUDED EDGE DETECTION

MICRO VU DETECTION APPROACH – FOCUS DETECTOR

MICRO VU Q16 “TEAM” X-Y DISPLAY

115/220 VOLT, 6A/3A

CONDITION – VERY GOOD